## PAGE_1
Page ____ of ____ |  |  |  |  | Yes
No
Partially
A- Major/System Failure No Workaround
Company (1) | Technician (2) |  |  |  | B- Critical/Serious Condition Impairs Operation
Contact (3) | Date Submitted (4) |  |  |  | C- Minor/Non-Critical
Email (5) | Model # (6) |  |  |  | D- N/A
Location (7) | Serial # (8) |  |  |  | Yes
Address (9) | Installation Date (10) |  |  |  | No
Observation 1 (11): |  | Resolved by Technician? (12)
Bent Louvre Interlock Bracket |  |  | Image Provided (13) | Quality use only:
Action Taken (14): |  |  |  | Severity
Straightened out interlock brackets |  |  |  | C- Minor/Non-Critical
Observation 2 (11): |  | Resolved by Technician?
|  |  | Image Provided (13) | Quality use only:
Action Taken (14): |  |  |  | Severity
Observation 3 (11): |  | Resolved by Technician?
|  |  | Image Provided (13) | Quality use only:
Action Taken (14): |  |  |  | Severity
Observation 4 (11): |  | Resolved by Technician?
|  |  | Image Provided (13) | Quality use only:
Action Taken (14): |  |  |  | Severity
Observation 5 (11): |  | Resolved by Technician?
|  |  | Image Provided (13) | Quality use only:
Action Taken (14): |  |  |  | Severity
NOTES (15):
Corrective Action Required (Quality use only):
Installation Quality Report
YES
NO
YES
NO
YES
NO
YES
NO
YES
NO
YES
NO

## PAGE_2
Page ____ of ____ |  |  |  |  | Yes
No
Partially
A- Major/System Failure No Workaround
Company (1) | Technician (2) |  |  |  | B- Critical/Serious Condition Impairs Operation
Contact (3) | Date Submitted (4) |  |  |  | C- Minor/Non-Critical
Email (5) | Model # (6) |  |  |  | D- N/A
Location (7) | Serial # (8) |  |  |  | Yes
Address (9) | Installation Date (10) |  |  |  | No
Observation 1 (11): |  | Resolved by Technician? (12)
|  |  | Image Provided (13) | Quality use only:
Action Taken (14): |  |  |  | Severity
Observation 2 (11): |  | Resolved by Technician?
|  |  | Image Provided (13) | Quality use only:
Action Taken (14): |  |  |  | Severity
Observation 3 (11): |  | Resolved by Technician?
|  |  | Image Provided (13) | Quality use only:
Action Taken (14): |  |  |  | Severity
Observation 4 (11): |  | Resolved by Technician?
|  |  | Image Provided (13) | Quality use only:
Action Taken (14): |  |  |  | Severity
Observation 5 (11): |  | Resolved by Technician?
|  |  | Image Provided (13) | Quality use only:
Action Taken (14): |  |  |  | Severity
NOTES (15):
Corrective Action Required (Quality use only):
Installation Report
YES
NO
YES
NO
YES
NO
YES
NO
YES
NO
Installation Quality Report
YES
NO

## IMAGES
Image #1 | Image #2 | Image #7 | Image #8
Image #3 | Image #4 | Image #9 | Image #10
Image #5 | Image #6 | Image #11 | Image #12

## DIRECTIONS
Installation Quality Report Form Instructions
A report should completed in the event of a quality issue durning the time of a machine installation even if the issues are corrected in the field . Photos must be provide for every obsevation noted on the report.
(1) | The Name of the company that did the install.
(2) | The name of the technician that did the Install.
(3) | Name of person that can talk to the issues noted in the install
(4) | Date the report is completed
(5) | Email address of the contact provided in Box (3)
(6) | The Eagle Model number (Pack 240, RMI720, etc.…..) of the unit installed.
(7) | Customer's name where the install is took place.
(8) | The Eagle Serial number of the unit installed.
(9) | Customer's address where the unit was installed.
(10) | The date (M/DD/YYYY) the installation was completed.
(11) | Write a detailed description of each separate observation in the space below.
(12) | Select answers form dropdown in the box to the right. [Yes, No, Partially]
(13) | Check either YES or NO to indictae if image is available and attached.
(14) | List any action taken for each observation in box (11)
(15) | Add any comments on things needed to be considered by Eagle
Note 1 | Use Installation Report page 2 tab if there are more than 5 issues.
Note 2 | Copy page 2 tab to new work sheet if more that 10 issues need to be documented.
Note 3 | Insert photos of issues on Images tab.
Note 4 | Gray cells are for Quality Use Only